# 2024 ARCHITECTURAL MANUAL APPENDIX I

**ARCHITECTURAL STANDARDS**

(manual date: 01.16.24)

# TABLE OF CONTENTS

1. INTRODUCTION
2. DESIGN SUBMITTALS AND CONSTRUCTION MONITORING
   1. Drawings and Specifications
   2. Building Permits
   3. Soils & Materials Testing
   4. Construction Monitoring
3. SITE DEVELOPMENT STANDARDS
   1. Environmental Conditions
   2. Parking
   3. Vehicle Circulation
   4. Pedestrian Circulation
   5. Open Spaces
   6. Landscaping
   7. Site Lighting
   8. Site Amenities
   9. Trash Collection
   10. Signage and Fixtures
   11. Site Grading and Drainage
   12. Security
   13. Site Utilities
4. BUILDING EXTERIOR DESIGN STANDARDS
   1. Roofing
   2. Gutters and Downspouts
   3. Exterior Cladding
      1. Brick
      2. Insulated Vinyl Siding
      3. Fiber Cement/Cementitious Siding
      4. Natural or manufactured stone
      5. Other Materials
   4. Exterior Doors and Windows
   5. Exterior Stairs
5. BUILDING INTERIOR DESIGN STANDARDS
   1. Room Configuration
   2. Unit Sizes
   3. Minimum Unit Sizes
   4. Kitchen Requirements
   5. Closets
   6. Ceiling Heights
   7. Floor Finishes
   8. Additional Requirements
   9. Appliances
   10. Mechanical
   11. Electrical, Plumbing, and Indoor Air Quality
   12. Electrical
   13. Dwelling Unit Acoustical Isolation
   14. Thermal Insulation
   15. Radon
6. FIRE AND LIFE SAFETY
7. ACCESSIBILITY

# INTRODUCTION

In accordance with federal requirements established by 24 CFR 92.25 (HOME), IRC Section 42 (LIHTC), and the 1989 Georgia General Assembly Housing Trust Fund (HTF) for the Homeless, the Georgia Department of Community Affairs (DCA) has established these Architectural Standards. All projects receiving DCA resources for the construction of new and/or rehabilitation of existing rental housing, including HOME, CDBG-DR, NHTF, TCAP, 9% LIHTC, 4% LIHTC/Bonds, and/or Housing Trust Fund (HTF) must meet these Architectural Standards. It is the Project Team’s responsibility to ensure 100% compliance with this Manual (and approved DCA Architectural Waivers).

All properties funded with a DCA Georgia Housing and Finance Authority (GHFA) loan and/or grant must meet all the requirements in this manual unless DCA grants a waiver. Funding sources include but are not limited to HOME, NHTF, CDBG-DR, and TCAP.

The Qualified Allocation Plan (“QAP” or “Plan”) requires that projects funded under the Plan meet applicable Federal, State, and DCA codes, acts, and regulations. These architectural standards are not meant to replace Federal, State, or local codes. These standards shall be in addition to the following which apply to all properties funded in the program:

* + Georgia State Minimum Standard Codes (with Georgia Amendments)

1. International Building Code
2. International Energy Conservation Code
3. International Fire Code
4. International Fuel Gas Code
5. International Mechanical Code
6. International Plumbing Code
7. International Residential Code
8. National Electrical Code
   * HUD Housing Quality Standards (HQS)
   * HUD Minimum Property Standards (MPS)
   * HUD Uniform Physical Condition Standards (UPCS)

applicable to projects funded under the Plan, refer to the DCA Accessibility Manual. DCA architectural and accessibility requirements may exceed the referenced state and federal requirements.

All new and rehabilitation construction work scopes must consider the property marketability and residential quality of life, including, but not limited to, upgraded building exteriors and unit interiors, and improved site conditions and amenities. These upgrades should be reflected in the Threshold and Scoring portions of the DCA Application. Both new construction and rehabilitation projects must meet the Threshold requirements (longevity, per unit cost limitations, financial feasibility, economic viability, including construction standards for potential disaster mitigation, etc.), as published in the Qualified Allocation Plan. These Architectural Standards, as well as

the QAP and Rehabilitation Standards, should be read in their entirety for further information regarding materials longevity and components replacement for completed properties.

New and rehabilitation construction costs are subject to DCA regulations, and per unit cost limits must reflect the reasonable and necessary costs required to develop a project in the State of Georgia. DCA may determine that projects that exceed customary and reasonable construction costs, even if they are within published per-unit cost limits, represent a poor utilization of resources, and may fail Threshold. The final determination of compliance with the Architectural Standards rests solely with the mortgage lender, the credit enhancement provider, and the Georgia Department of Community Affairs (DCA).

DCA may grant an architectural waiver to projects that will not meet the above requirements ONLY if there is an overriding public policy or historic preservation need and the physical needs assessment clearly documents that the existing property does not require a comprehensive rehabilitation.

Applicants must submit ALL "waivers' at the pre-application stage (refer to the 2024 DCA Rehabilitation Guide for further guidance). The Applicant must demonstrate that efforts were taken to meet the minimum design criteria.

Waiver requests for accessibility-related items should be accompanied by a legal opinion from the applicant/developer, a letter of support from the Accessibility Consultant, and information (i.e., feasibility analysis, site conditions, etc.) to justify DCA’s consideration of waiving the requirement as outlined in DCA QAP and all related manuals. Refer to the 2024 DCA Accessibility Manual for further guidance. DCA will only waive items related to DCA’s accessibility mandates. DCA will not approve accessibility waiver requests for projects utilizing GHFA-administered funds (i.e., HOME, NHTF, CDBG-DR, and TCAP funds).

DCA Hard Costs identified as “Contractor Services” are costs associated with work performed by the primary General Contractor. This Contractor work scope would be further defined in the Uses of Funds tab of the Owner’s Core application, DCA Rehabilitation Work Scope form, DCA Schedule of Values form, and the executed agreement between the Owner and Contractor. The project oversight of the Contractor’s work scope, including DCA QAP requirements, must be defined in the executed agreement between the Owner and the Architect. In addition, the Contractor work scope would be subject to the QAP Identity of Interest limitations, Front-End Cost Review, and Contractor Cost Certification requirements.

DCA Hard Costs identified as “Other Construction Hard Costs” are costs associated with work managed directly by the Ownership. This Hard Cost category is intended for limited use and would be a small percentage of the overall Hard Cost Budget. Past DCA approved uses for this category have been for owner installed window blinds, and owner contracted power company parking lot lighting. The “Other Construction Hard Costs” work scope must be identified and approved by DCA both at application and prior to construction commencement. Documents certifying the actual cost must be maintained by the ownership and submitted to DCA with the appropriate Construction Services submissions.

For any project utilizing Georgia Housing and Finance Authority (GHFA) administered funds (i.e., HOME, NHTF, CDBG-DR, TCAP funds), a **Pre-construction Conference**  must occur prior to the commencement of construction to review federal compliance requirements and draw request procedures.

# DESIGN SUBMITTALS AND CONSTRUCTION MONITORING

1. **Drawings and Specifications:**

Construction documents, including architectural drawings and specifications, are required for both new construction and rehabilitation projects. To minimize construction problems, unnecessary change orders, discrepancies in documentation, and cost overruns, architectural drawings and specifications must meet industry standards, being clear and consistent while faithfully depicting the design, location, and dimensions of project elements. Refer to the Architectural Submission Requirements for document format and submittal requirements.

# Building Permits:

Building permits are required for all work to be funded under DCA programs**.** Proof of inspections and approvals by local officials, including Certificates of Occupancy, are required for the final allocation of Low-Income Housing Tax Credits (LIHTC). See Architectural Submission Requirements and contact DCA LIHTC and HOME underwriters for specific information.

# Soils and Materials Testing:

All new soils and structural concrete must be tested to ensure compliance with engineered specifications. Additional materials should be tested as dictated by industry standards. A licensed and state accredited testing lab, using standardized testing procedures, must conduct the tests.

# Construction Monitoring and Compliance:

Construction work must adhere to the standards and requirements contained in the Qualified Allocation Plan (QAP), the respective DCA Architectural program manuals, the Application, Land Use Restrictive Covenant or Land Use Restriction Agreement, and all manufacturers recommended installation procedures and guidelines for all materials used during the construction of the project.

For ALL “non-GHFA” funded projects (i.e., 4% LIHTC/Bond and 9% LIHTC funded projects), DCA will assign approved construction inspection compliance companies to perform quarterly inspections and complete reports in accordance with the DCA inspection report form.

Reports must address any concerns about construction quality, safety, and progress. Reports for rehabilitation projects must also address any concerns about resident safety and treatment of resident belongings.

The Owner’s “Construction Compliance Inspector**”** must approve all draw requests.

The Owner’s “Construction Compliance Inspector**”** must return to the site in the below timeframes to confirm issue resolution:

* + Issues identified in a monthly inspection report related to site safety, resident safety, and treatment of resident belongings must be resolved within 48 hours.
  + Issues identified in a monthly inspection report related to construction quality must be resolved within 3 months.

*NOTE: See Section XVIII "Monitoring and Compliance” of the Qualified Allocation Plan – Core for additional information*.

For “GHFA” funded projects (i.e., HOME, NHTF, CDBG-DR, TCAP), DCA will assign approved construction inspection compliance companies to perform monthly inspections and complete reports in accordance with the DCA inspection report form. Completed reports shall be submitted to DCA during the GHFA draw submission process.

DCA reserves the right to inspect all properties throughout the construction process and before issuance of Final LIHTC Allocation. Non-compliance with building codes, accessibility codes, and/or DCA requirements must be corrected before issuance of Final LIHTC Allocation and may require additional third-party DCA inspections at the Owners expense. DCA may perform additional unannounced site visits to ensure compliance with DCA requirements. All inspection costs are the responsibility of the Owner.

DCA will monitor construction through inspection reports and other sources to ensure quality standards and completion dates are met. DCA may require owners to periodically submit additional reports and project documents generated by inspectors, construction managers, architects, and/or engineers as necessary.

# If during the construction monitoring period, DCA determines that unsafe project site conditions exist, DCA reserves the right to issue a stop work order to the Owner.

Refer to the QAP for further DCA and IRS requirements.

# SITE DEVELOPMENT STANDARDS

1. **Environmental Conditions:**

Surrounding environmental conditions must be carefully evaluated. Negative environmental conditions (i.e., ditches, canals, railroad tracks, expressways, noise sources, flood prone areas, etc.) must be corrected or alleviated through approved mitigation measures. Refer to the Environmental Phase I Site Assessment standards published in the DCA Environmental Manual for the environmental documentation and review process. All applications are required to submit a Phase I Environmental Site Assessment and a Phase II investigation if recommended in the Phase I report.

# Parking:

Parking spaces shall meet local zoning requirements. In the absence of any other requirements, there shall be no less than “1.5 spaces per unit for family tenancy projects” and “1 space per unit for senior tenancy projects.”

*NOTE: An Architectural Waiver will NOT be needed if the local jurisdiction parking requirements are less than noted above*

Parking areas shall be concrete, asphalt paving or pervious pavement (porous asphalt, plastic grids, permeable interlocking concrete pavers, permeable clay brick pavers, resin-bound paving, bound recycled glass porous pavement) and have curbs *(NOTE: See handicapped parking exceptions)*.

All handicapped parking spaces must meet federal and state accessibility requirements. All “newly” constructed handicapped parking spaces shall be “concrete paving,” and all “accessible routes” that incorporate the parking areas should be clearly delineated along the pavement surface (i.e., striping,). Please refer to the DCA Accessibility Manual for more information.

# Vehicle Circulation:

For tenants, guests, and emergency services providers, vehicle circulation routes should be designed to provide safe ingress and egress to and from all buildings and amenities. Roads shall be either concrete, asphalt paving, or pervious pavement (porous asphalt, plastic grids, permeable interlocking concrete pavers, permeable clay brick pavers, resin-bound paving, bound recycled glass porous pavement) and have curbs and sidewalks.

# Pedestrian Circulation:

Pedestrian circulation should provide paved accessible routes to parking, buildings, and amenities. Streets (except crossing routes), grass and gravel/sand surfaces are not acceptable pedestrian circulation routes. Accessible ramps and no-step access must be provided as applicable.

# Open Spaces:

Open landscaped spaces or green belts should be included in the overall site design.

# Landscaping:

Landscaping should be appropriate for the climate zone, appealing, and convey a residential image. Low maintenance plant materials are preferred. For appropriate landscape options, please refer to *Landscape Plants for Georgia*, published by the Cooperative Extension Service, The University of Georgia College of Agricultural and Environmental Sciences.

# Site Lighting:

One foot-candle is the general standard for site lighting. All parking, building, amenity, and site lighting should be sufficient for its purpose (i.e., evening mail collection, etc.), and be directed down to diminish nuisance light. Additionally, units should have exterior entry and porch door lights controlled from within the unit.

# Site Amenities:

Required Standard Amenities and Additional Amenities selected must meet applicable federal, state, and DCA accessibility requirements, provide seating appropriate to the amenity, and if proper, should be protected from the elements. Amenities such as the playground should be centrally located in visual proximity to the buildings, while other noise-prone amenities may be appropriately sited on the property.

Standard and Additional selected site amenities identified in the application submission must be in the final construction documents and budget. DCA reserves the right to determine the adequacy of amenities and whether or not they meet DCA requirements.

*NOTE: Minimum standards for Site Amenities are outlined in the “Amenities Guide” and the “Accessibility Manual”.*

# Trash Collection:

Trash collection sites must be screened from residential and community areas and placed at a distance from the tenant dwelling units and amenities to eliminate objectionable sights and odors. The collection areas must be accessible to disabled persons while convenient to tenants and service vehicles. Dumpsters must be placed on concrete slabs with concrete approach aprons at least 10’-0” depth.

# Signage and Fixtures:

Building signage should meet the requirements of local 911 service providers. Illumination for the property entrance signage must be provided.

# Site Grading and Drainage:

Site grading should allow stormwater to drain positively away from buildings and site amenities while eliminating pooling, puddling, etc. All on-property retention and detention areas must be fenced, and for maintenance and safety purposes, a properly securable gate may be provided.

Inlet or outlet drainage ways must be designed to prevent resident entry. On-property retention ponds must be well maintained. Foundation walls should prevent the entrance of water, insects, and rodents into the basement or crawl space areas. Access and ventilation of basement and crawl spaces must meet code requirements and must be secured from the exterior as appropriate.

# Security:

Security measures should be incorporated into the architectural design. As necessary, fencing, lighting, and other security features must mitigate poorly lighted parking areas, blind corners and recesses, inappropriate landscaping, and steep grades. The Owner may wish to include security cameras, HVAC cages, and other site security features. Entry doors to units shall be equipped with a viewer and bell or buzzer. Exterior doors and windows must be equipped with locks to prevent access from the outside. All doors shall be provided with hardware that complies with ANSI/BHMA Standards.

# Site Utilities:

All utility distribution systems should be underground where possible. **All projects must have requisite access and connectivity to the existing public utilities.** For further information, refer to the Qualified Allocation Plan, Appendix I, Threshold Criteria.

# BUILDING EXTERIOR DESIGN STANDARDS

Building exteriors should create a residential image appropriate to the market. DCA encourages using materials that provide low maintenance and longevity for the property's life span. All materials are to be installed using standard construction methods and means, resulting in manufacturers' issuance of guarantees.

# Roofing:

Anti-fungal dimensional (architectural) shingles with a minimum 30-year warranty are required for all shingle roof applications. Flat roofs are not encouraged, but a minimum 30-year warranty is required for all flat roof applications. All edges of the roof must have an aluminum drip edge that extends a minimum of 3” under the shingles, 2” onto the fascia, and have a minimum ½” 45-degree kick out at the bottom end of the fascia extension.

# Gutters and Downspouts:

Seamless gutters and downspouts are mandatory for all construction and on all buildings.

# Exterior Cladding:

* 1. Brick: See Appendix I, Threshold Criteria, Architectural Design & Quality Standards, Qualified Allocation Plan.
  2. Insulated vinyl siding must be impact-resistant commercial grade with a minimum thickness of .046” and a minimum 30-year warranty to be provided by the manufacturer and must meet or exceed ASTM D3679 & ASTM D7856 standards.
  3. Fiber Cement/Cementitious Siding must be 5/16” nominal thickness with a 30- year warranty to be provided by the manufacturer.
  4. Natural or manufactured stone.
  5. Other materials**:** The use of synthetic stucco (EIFS: Exterior Insulation and Finish Systems) and cement stucco must be pre-approved by DCA before application submission. Wood siding is not permitted. All exterior trim, including fascia and soffits, window and door trim, gable vents, etc. must also be constructed of no or very low maintenance materials. The vinyl soffit must be commercial grade with a minimum thickness of .046” and a minimum 30-year warranty to be provided by the manufacturer. Wood fascia must be covered completely with prefinished aluminum with a minimum thickness of .024”.

Where exterior brick does not extend to an eve line, aluminum flashing shall be installed that extends a minimum of 2” under/behind the above exterior wall surface material and over the outer edge of the brick to prevent water penetration.

# Exterior Doors and Windows:

* 1. Exterior doors must be 1 ¾” high durability, insulated (such as steel or fiberglass), and meet the requirements of the *Georgia State Minimum Standard Codes (with Georgia Amendments)*.
  2. All primary entries must either be within a breezeway or have a minimum roof covering 3 feet deep by 5 feet wide, including a corresponding porch or concrete pad.
  3. Exterior doors for fully accessible units must include spring hinges.
  4. Windows and door glazing must meet the requirements of the *Georgia State Minimum Standard Codes (with Georgia Amendments)*.
  5. Wood windows and exterior entry doors are not permitted.
  6. Windows must not be located within a shower surround area or over shower units.
  7. Install a continuous bead of silicone caulk behind all nail fins before installing new windows per the manufacturer’s specifications.
  8. Skylights, windows and locations, sizes, and operable panels must meet the requirements of the *Georgia State Minimum Standard Codes (with Georgia Amendments)*.

1. **Exterior Stairs:** All exterior stairs are to be covered and protected from the elements for new construction and the rehabilitation of existing buildings.

# BUILDING INTERIOR DESIGN STANDARDS

1. **Room Configuration:**

Room configuration should be functional while providing economic use of space:

* 1. The primary bedroom must be designed as close to a rectangular shape as possible, and sizes should be consistent with industry standards.
  2. The primary bathroom shall be accessible from a common area such as a hall. Exceptions may be considered for the rehabilitation of one-bedroom units.
  3. The kitchen should be accessible from the entry.
  4. Bathrooms must not open from food preparation areas or be used as a sole passageway to a habitable room, hall, basement, or exterior.
  5. No habitable rooms are permitted in the basement or cellar spaces unless egress is provided according to applicable fire codes.
  6. All windows in bedroom units must comply with all local and state life safety requirements. No windowless bedrooms will be allowed unless an architectural standards pre-application waiver is submitted with documentation evidencing such approval by the local code official and/or State Fire Marshal.

# Unit Sizes:

The following criteria are the minimum requirements. DCA may consider submissions that appear to violate the spirit and intent of these minimums as a poor use of resources.

Rentable (Leasable) Square Footage:

This is DCA’s method for calculating “Residential Unit Square Footage” in the Architectural Manual, construction forms, documents, and the Qualified Allocation Plan (QAP). It is calculated for each dwelling type.

The unit's net rentable area is measured from the inside face of each unit’s perimeter wall.

* 1. Net area included air-conditioned space only.
  2. Measure from the inside (paint) face of all unit perimeter walls.
  3. Do not include any patio, balcony, or breezeway areas.
  4. Do not include any outside storage closets.
  5. Do not deduct any interior walls.

* 1. Include non-revenue units in the total net rentable living area (Total Residential Unit Square Footage)

1. **Minimum Unit Sizes** (Waiver may not be requested for new construction)

|  |  |  |  |
| --- | --- | --- | --- |
| **DWELLING TYPE** | **MINIMUM SQUARE**  **FOOTAGE** | **KITCHEN** | **BATHROOM** |
| Studio | 375 | Cooking area | 1 |
| Efficiency | 450 | Full kitchen | 1 |
| 1 bedroom **(Atlanta Metro only)** | 500 | Full kitchen | 1 |
| 1 bedroom | 650 | Full kitchen | 1 |
| 2 bedrooms | 850 | Full kitchen | 1 |
| 3 bedrooms (+) | 1,100 | Full kitchen | 2 |

1. **Kitchen Requirements** (Waiver may not be requested for new construction)

|  |  |  |
| --- | --- | --- |
| **UNIT TYPE** | **MINIMUM CLEAR COUNTERTOP FRONTAGE** | **MINIMUM LINEAR FOOTAGE OF CABINETS**  **(includes base & wall cabinets, combined)** |
| 1 bedroom **(Atlanta Metro only)** | 5’-9” | 14 |
| 1 bedroom | 6’-9” | 16 |
| 2 bedrooms | 7’-9” | 18 |
| 3 bedrooms | 8’-9” | 20 |

# Closets

* 1. According to market demand, a suitable number of closets should be provided for each dwelling unit.
  2. All closets designed to contain clothes must be a minimum of 2'-0" deep.
  3. Closets and defined storage areas must not be included in the room area square footage computations.
  4. Closets and storage spaces in accessible units must meet applicable reach range requirements.
  5. All closets must have doors.

# Ceiling Heights

* 1. Flat ceilings must be a minimum of 8’-0” above the finished floor.
  2. Sloped ceilings must not be less than 5’-0” for the purposes of computing floor areas.
  3. Ceiling heights must meet minimum requirements established by the *Life Safety Code* and the Georgia State Fire Marshal’s Office.

# Floor Finishes:

Floor finishes are to be suitable for market conditions and appropriate to the space considered.

* 1. Living Areas and Bedrooms: Carpet or LVT
  2. Bathrooms, Mechanical Closets, Laundry Areas, Kitchen, and other high moisture areas: Sheet Vinyl, VCT, LVT, or Ceramic Tile.

DCA will evaluate kitchen and living room flooring materials for appropriate marketability, durability, sound transmission, and tenant comfort.

All materials are to be installed to the manufacturer’s specifications using standard methods resulting in the issuance of a manufacturer's guarantee. DCA may approve material upgrades with improved maintenance qualities, durability, safety, and/or indoor air quality for the tenants. Manufacturer’s warranties must be submitted to the Owner.

# Additional Flooring Requirements:

* Unit carpeting may have a level loop, textured loop, level cut pile, or level cut/uncut pile texture. DCA may approve alternate carpeting materials and installation methods in units intended for the elderly or disabled. Carpeting shall comply with HUD’s Use of Materials Bulletin No. 44d.
* Carpet pad must be installed under all carpeting for which it is intended and should comply with HUD’s *Use of Materials Bulletin No. 72a.*
* Sheet vinyl must be a minimum of 0.095 in. thickness and provide a 20-year residential warranty.
* Ceramic floor tile shall be a minimum 12” x 12” and installed over poured concrete slab or cementitious backing material.
* VCT must be at minimum 0.080 in. thickness.
* Luxury Vinyl Tile (LVT) must have a 12mil wear layer and provide a 15-year residential warranty. LVT installed in kitchens, bathrooms, laundry areas, and mechanical closets must be 100% waterproof.

# Additional Requirements:

* 1. Bathrooms must have adequate storage. If adequate cabinet space is not available, bathrooms must have medicine cabinets. Medicine cabinets should not be placed in party walls unless fire separation is continuous behind and around the cabinet installation.
  2. Plastic laminate material must be installed the full width and depth on the bottom shelf of vanity sink cabinets and kitchen sink cabinets and must be sealed/caulked around the full perimeter to all cabinet sides to prevent moisture/water penetration.
  3. Kitchen countertops must be constructed of a 3/4” plywood base with laminate top or solid surface material. No particle board press board or fiber board will be allowed.
  4. All open voids above and below upper and lower kitchen cabinets shall be sealed with caulk or cabinet matching material/finish and all cabinets shall be caulked where the cabinet meets a wall surface to prevent pest infestation. No open voids will be allowed. All open voids/holes in cabinet backs must be sealed with matching cabinet material, caulk or expandable foam and all pipe penetrations must be covered with an escutcheon.
  5. Kitchen cabinets must be provided above and below countertops. Cabinets shall be constructed with solid wood or plywood boxes, stiles, rails, doors, and drawer fronts. All cabinets will conform to the performance and fabrication requirements of ANSI/KCMA A161.1, Performance & Construction Standard for Kitchen and Vanity Cabinets or an equivalent certification. All Cabinets mustbear the theCertification Seal. No particle board pressboard or fiberboard will be allowed.
  6. Blinds: All windows should have neutral color horizontal mini blinds. All glass doors should have either mini-blinds or vertical slat blinds.
  7. Cable outlets must be provided in the main living area and in all bedrooms.
  8. All interior finishes, especially interior paint, must be low in Volatile Organic Compounds (VOCs) as defined in the EarthCraft Multifamily program (<https://earthcraft.org/programs/earthcraft-multifamily>/).
  9. In new construction and adaptive re-use projects, all water heater tanks must be placed in an overflow pan piped to the exterior of the building, regardless of location and floor level, unless a primed p-trap is installed. The temperature and relief valve must also be piped to the exterior. Water heaters must be placed in closets to allow for their removal and inspection by or through the closet door. Water heaters may not be installed over the clothes washer or dryer space.
  10. Bathroom shower walls shall be either ceramic tile, solid surface material (i.e., three- piece acrylic wall panels), fiberglass tub/shower enclosure/surround, or fiberglass shower enclosure/surround.

*NOTE: For multi-piece molded fiberglass tub/shower units, encloser/surround shall have applied acrylic surface. Core material fiber glassed in appropriate locations for grab bar reinforcement. Corners shall be seamless with overlapping panel edges.*

*NOTE: Ceramic wall tile shall be installed over cementitious backing material (including existing residential units).*

* 1. For new construction only, all dwelling units shall have washer and dryer “hookups”.

# Appliances:

Appliances must include:

* + microwaves
  + refrigerators
  + ranges
  + dishwashers *(Note: Dishwashers NOT required in “senior” USDA properties or HUD properties)*

Minimum refrigerator sizes for one- and two-bedroom units -"14 cu. ft."; three-bedroom units—"16 cu. ft." All refrigerators shall have a built-in "ice maker".

Other kitchen appliance sizes must be appropriate for the unit and the number of tenants. Appropriate appliances listed in US EPA’s Energy Star program must be provided. Further information is available at [http://www.energystar.gov/.](http://www.energystar.gov/)

*NOTE: Minimum standards for Unit Amenities and Laundry Amenities are outlined in the “Amenities Guide” and the “Accessibility Manual”.*

Mechanical Mechanical system equipment must meet the requirements of the *Georgia State Minimum Standard Codes (with Georgia Amendments)*.

# Sustainability Standards:

The minimum energy efficiency and sustainable building practices for this section are located in the *QAP, Threshold Criteria, Building Sustainability.* In addition, the intent in this section is to ensure the same level of quality testing in all multi-family units. Further guidance on compliance pathways through the definition of building type, the procedure for testing, and applicable exemptions are instructed below.

Compliance Pathways for Low-Rise Residential Construction:

Residential Building Definition: For this code includes detached one- and two-family dwellings and multiple single-family dwellings (townhouses) as well as Group R-2 (“Low- rise R-2 multifamily dwellings”), R-3, R-4 buildings three stories or less in height above grade plane.

Compliance Pathways for Commercial and High-Rise Residential Construction:

Commercial Building Definition: For this code, all buildings that are not included in the definition of “Residential Building” (i.e., multifamily four stories or more in height above grade plane).

# Duct Leakage:

Low-Rise Residential Construction

The total leakage of the ducts, where measured by one of the following methods in accordance with Section R403 SYSTEMS of the Georgia Energy Code shall be as follows:

* + Rough-in test: The total leakage shall be less than or equal to 6 cubic feet per minute (113.3 L/min) per 100 square feet (9.29 m2) of conditioned floor area where the air handler is installed at the time of the test.
  + Post-construction test: Total leakage shall be less than or equal to 6 cubic feet per minute (113.3 L/min) per 100 sq. feet (9.29 m2) of conditioned floor area.

Mid and High-Rise Residential Construction

In addition to the minimum Georgia Energy Code requirements, DCA QAP multi-family developments that are four stories or more in height above grade plane shall comply with the same requirements described above for “Low-Rise Residential Construction” Duct Leakage.

Projects that plan to utilize Packaged Terminal Heat Pumps and/or Air Conditioners (PTACs) or ductless mini splits for all units are exempt from the duct leakage requirement

for all non-ducted systems.

# Dwelling Unit Air Infiltration:

Low-Rise Residential Construction

The total dwelling unit air infiltration rate, where measured in accordance with Section R402 BUILDING THERMAL ENVELOPE of the Georgia Energy Code shall be as follows:

All “one- and two-family dwelling units” shall be tested and verified to less than five air changes per hour at 50 Pascals (ACH50) for Climate Zones 2, 3, and 4.

“Low-rise R-2 multi-family dwellings” (three stories or less in height above grade plane) shall be tested to less than 7 air changes per hour at 50 Pascals (ACH50).

As an alternative to ACH50, compliance for Low-rise R-2 dwellings may be attained by achieving an “Envelope Leakage Ratio” at 50 Pascals (ELR50) of less than 0.35 (ELR50 < 0.35, where ELR50 = CFM50 / Envelope Shell Area, in square feet).

Mid and High-Rise Residential Construction

In addition to the minimum Georgia Energy Code requirements, DCA QAP multi-family developments that are four stories or more in height above grade plane shall comply with the same requirements described above for “Low-Rise Residential Construction” Dwelling Unit Air Infiltration.

# Electrical:

Electrical distribution system minimum panel size is 100 amps, or per code. Electrical switches, outlets, thermostats, phone and television jacks, and other controls are to be installed per Fair Housing Act Design Manual requirements in qualified units and per appropriate accessibility law in accessible units. All penetrations of smoke partitions and rated assemblies must comply with fire codes as administered by the local authorities.

# Dwelling Unit Acoustical Isolation:

All developments must meet DCA requirements for interior and exterior noise limits. The DCA and HUD Noise Limitations are 45 decibels (dB) for interior locations and 65 dB for exterior amenities. For HUD funded projects submitted to DCA, all new construction and rehabilitation projects must also meet the requirements set forth in the HUD noise regulations, 24 C.F.R. 51b. Applications for rehabilitation may request a waiver from HUD Noise Limitations.

Dwelling Unit Acoustical Isolation requires a minimum STC (Sound Transmission Class) rating of “52” between units. Acoustical Isolation between dwelling units surpassing the required minimums will increase unit quality.

The following minimum design standards apply for Dwelling Unit Acoustical Isolation:

* 1. Between units: 1 hr. rated UL assembly with one-layer 5/8” GWB on each side

(minimum or per local fire requirements if greater) w/two sets of staggered 2x4 studs (or metal stud equivalent), sound-insulated with blanket material to STC rating of 52. All wall edges must be caulked.

* 1. Within unit: one-layer ½” GWB on each side 2x4 studs (or metal stud equivalent)
  2. Floor to floor: 1 hr. rated UL assembly with a minimum STC rating 52. A minimum of 1” lightweight concrete or ¾” gypcrete topping over wood sub floor (optional floor construction may be considered for the rehabilitation of existing residential units).

In addition to the “Dwelling Unit Acoustical Isolation” requirements as outlined in Architectural Manual, the DCA Environmental Manual determines the environmental “Noise” limitations. Per the 2023 DCA Environmental Manual, Non-ASTM Issues for Phase I Reports, issue #4 “Noise” states the following:

*“All new construction projects must meet DCA requirements for interior and exterior noise limits. The “DCA and HUD Noise Limitations” are “45 decibels (dB) for interior locations” and “65dB for exterior locations”. While rehabilitation projects may be exempt from HUD Noise Limitations, a noise assessment as described below is required and DCA may require attenuation features. For HUD funded projects submitted to DCA, all new construction and rehabilitation projects must also meet the requirements set forth in the HUD noise regulations, 24 C.F.R. Part 51 Subpart B (24 C.F.R. § 51.100 et seq.).”*

*NOTE: Refer to the DCA Environmental Manual for all requirements and procedures regarding environmental interior (building perimeter exterior walls) and exterior Noise limitations.*

# Thermal Insulation:

Thermal insulation must meet minimum standards as defined in *Georgia State Minimum Standard Energy Code (International Energy Conservation Code).* To prevent freezing of supply lines, all plumbing in exterior walls must be insulated on the cold side of the wall.

# Radon:

All new construction must be built in accordance with current EPA requirements for radon- resistant construction techniques. Both new construction and rehabilitated buildings must be tested upon completion of the construction work scope and prior to tenant occupancy for compliance with EPA’s established limits for radon levels.

# FIRE AND LIFE SAFETY

Through strict code compliance, the property design shall provide a safe environment for all tenants. Adherence to the most recently adopted editions of the *Georgia State Minimum Standard Codes (with Georgia Amendments)* is required. This includes but is not limited to:

1. Smoke detectors must be hard-wired and located per code for all construction, either rehabilitation or new. Carbon Monoxide Detectors shall be in accordance with NFPA 101 Life Safety Code and NFPA 720.

*NOTE: DCA will not waive this requirement for rehabilitation proposals.*

1. Fire alarms and sprinklers must meet fire department, state, and local code requirements.
2. Attics must be constructed or rebuilt to meet all current fire and life safety codes for new construction, regardless of the requirements of the local building authority. These include draft stop walls, and rated ceiling, floor, and wall assemblies.
3. All through-penetrations of smoke walls, draft stops, and rated assemblies must meet current fire codes for “new” construction.
4. Projects shall be in compliance with all disaster mitigation-related requirements of the latest editions of the applicable mandatory State Minimum Standards as adopted and amended by the Department of community Affairs, and with all local ordinances regarding disaster mitigation.

# ACCESSIBILITY

It is mandatory that the Property be designed to meet all applicable federal, state, local and DCA and QAP requirements for accessibility by the disabled. The accessibility characteristics are to be incorporated in the layout and design of open spaces, building locations and unit designs. Refer to the "2023 DCA Accessibility Manual" for additional information. Please note that DCA requirements may be more stringent than federal or state requirements.

Newly constructed and rehabilitated single-family and multi-family housing developments receiving DCA funding are subject to statutory and regulatory accessibility requirements. It is the responsibility of the Owner, Architect, and Contractor to ensure compliance with all federal, state and local laws. DCA’s direct relationship to the Owner pertains only to the awarding of funds. The Owner bears final responsibility for compliance, regardless of fault, though he may seek legal restitution from the source of non-compliance.

Specifically, the Owner, Architect, and Contractor must ensure that the project is designed and built to meet applicable standards. Failure to meet these standards may result in federal and state noncompliance and costly repairs or corrections. Projects receiving DCA funding must meet federal, state, and local accessibility laws and meet the requirements of the DCA 2023 QAP and the 2023 DCA Accessibility Manual.